## Sheet1
Status | Description | System Component | Host/DB Reference | Kommentar
CRITICAL | System is exposed to Exadata Critical Issue DB50 (bugs 33610957, 34534868, 34286265, 34318125, 34672698). | Database Server | exa4dbadm01, exa4dbadm02 | Performance degradation or clusterware startup failure possible; RDBMS fixes missing.
CRITICAL | The storage servers in use configuration does not match across the cluster. | Cluster Wide | exa4dbadm01 | Mismatch in cellip.ora / KFOD / base MD5 checksums; risk of impaired performance or data loss.
FAIL | Data collection activity incomplete for this Exachk run. | Cluster Wide | - | Some checks were skipped or killed; must review skipped processes.
FAIL | Quorum disks configuration check timed out after 250s. | Database Server | exa4dbadm01:+ASM1, exa4dbadm02:+ASM2 | Check killed; quorum disk verification did not complete.
WARNING | Database Home 19c version 19.26.0.0.250121 (expected 19.27.0.0.250415). | Database Server | exa4dbadm01, exa4dbadm02 | Version within minimum supported, but not the latest recommended.
WARNING | Database Home 23c version 23.7.0.25.01 (expected 23.8.0.25.04). | Database Server | exa4dbadm01, exa4dbadm02 | Version outdated; should be upgraded.
WARNING | Grid Infrastructure version 23.7.0.25.01 (expected 23.8.0.25.04). | Grid Infrastructure | exa4dbadm01, exa4dbadm02 | Outdated; patch required.
WARNING | Exadata software version on DB servers 25.1.3.0.0 (expected 25.1.6.0.0). | Database Server | exa4dbadm01, exa4dbadm02 | Older maintenance release; should be patched.
WARNING | Exadata software version on Storage Servers 25.1.3.0.0 (expected 25.1.6.0.0). | Storage Server | exa4celadm01, exa4celadm02, exa4celadm04 | Older maintenance release; should be patched.
WARNING | Unacceptable hidden parameters detected in databases. | Database Server | exa4dbadm01:cdb1, exa4dbadm01:whexa4 | Undocumented parameters set; should be removed or corrected.
WARNING | ASM Disk Group DATAC1/RECOC1 free space close to required minimum. | ASM Disk Group | exa4dbadm01, exa4dbadm02 | Low free space may risk rebalance operations.
WARNING | FlashCache compression misconfiguration (CELL-01504: Invalid command syntax). | Storage Server | 192.168.10.6, 192.168.10.8 | Invalid flash cache compress parameter.